## Abdomen
Protocol | Common Indications | Contrast | Special Instructions/Comments
Abd_Ch-Abd-Pel, Chest/Abdomen/Pelvis | Fever, Staging, Malignancy search | IV: Yes | Shows up in yellow in the protocol list when its part of a linked CAP order. Use this at Dana as well.
Oral: Omnipaque
Abd-Pel, Abdomen/Pelvis I+ | Abdominal Pain, Cancer Staging, weight loss, fever | IV: Yes | If ordered as Chest, Abd, and Pelvis study, then protocol as a "Abd_Ch-Abd-Pel, "Chest/Abdomen/Pelvis",as above
|  | Oral: Preferred (dilute Omnipaque unless allergy) | If ordered as abdomen only, ordering provider must place new order to include pelvis as necessary. Abdomen only is preferred infrequently, usually for lung cancer restaging.
Rectal contrast (dilute Omnipaque): Post colon surgery (assess for leak), Perirectal abscess/fistula (MRI preferred), Penetrating trauma
Abd-Pel, Abdomen/Pelvis I- | Contrast allergy, Renal insufficiency, Unstable patient, Suspected hemorrhage | IV: None | Most studies are preferred with IV contrast.
|  | Oral: Preferred (unless indication is hemorrhage - then no oral contrast) | If ordered as noncontrast study and no obvious reason to not have contrast, contact ordering provider to discuss.
Abd-Pel, GI, Enterography Single Phase | Small bowel evaluation for Inflammatory Bowel Disease | IV: Yes
Oral Contrast: Volumen.
Abd-Pel, GI, Enterography Dual Phase | Suspected small bowel mass or occult GI bleeding | IV: Yes | Acute GI bleed to be done by CV.
Oral Contrast: Volumen.
Abd-Pel, Panc Dual Phase | Suspected pancreatic cancer, jaundice, chronic pancreatitis, known adenocarcinoma without metastases | IV: Yes | Not for pancreatic cancer evaluation prior to surgery.
Oral: H2O
Abd-Pel, Pre-op Pancreatic Surgery | Initial imaging in patients with known adenocarcinoma or pre-operative planning prior to pancreatic resection (only use if known mass) | IV: Yes | Only requested by pancreatic surgeons
Oral: H2O
Abd-Pel, Hypervascular Tumor Staging | Metastatic work-up of hypervascular tumors (Neuroendocrine tumor and RCC only), surgical planning, assessment of hepatic vascular anatomy | IV: Yes | There is also a Chest/Abdomen/Pelvis Hypervascular Tumor Staging protocol if ordered as such.
Oral: Yes
Abd-Liver, Liver Mass | Liver mass characterization if patient unable to have MRI, post-liver ablation | IV: Yes
Oral: Yes
Abd-Pel, Hernia | Suspected hernia or palpable abdominal wall mass. BB marker placed at site of concern | IV: Yes
Oral: Yes
Abd-Pel, GI, Colonography, Screening | Colon Ca screening, Asymptomatic | IV: None | Patient has oral contrast at home on the day prior
Oral: None
Abd-Pel, GI, Colonography, Diagnostic | Symptomatic, Staging, Blood in Stool, Failed colonscopy | IV: Yes | Patient has oral contrast at home on the day prior
Oral: None
Abd-Pel, GU, Stone Protocol | Flank pain, renal/ureteral colic, young pt with hematuria | IV: None
Oral: None
Abd-Pel, Low Dose Follow Up Known Ureteral Stone | To assess position of known ureteral stone (not for other indications) | IV: None
Oral: None
Abd-Pel, GU, Urogram | Painless hematuria, Bladder or other urothelial CA, post renal ablation | IV: Yes | If under age 35, then protocol as "Urogram, Under 35" Protocol
Oral: H2O
Abd-GU, CT Cystogram | Hematuria s/p trauma or surgery, ?Bladder Injury | IV: None | May get called to go to scanner to give roughly 300 ccs retrograde contrast into bladder.
Oral: None
Abd-Adrenal, Adrenal Mass | Evaluate adrenal mass, F/u adrenal mass for size | IV: Yes if nodule >10 HU on noncontrast images. Non contrast only if follow-up size, nodule <10 HU, or nodule contains macroscopic fat. | Tech will call for radiologist to look at noncontrast images. If nodule <10HU or contains macroscopic fat, then do not proceed with IV contrast administration and washout images. If nodule is >10 HU, then proceed with IV contrast administration and washout images. If follow-up for nodule size, then noncontrast study only.
Oral: None
Abd, GU, Kidney, Renal Mass | Characterize renal mass (not previously worked up before), post-renal ablation if patient unable to have MRI | IV: Yes | Not for RCC restaging.
Oral: H2O
These are the common abdomen protocols. For a complete list, please refer to the Abdomen Sharepoint Site.

## Neuro
Protocol | Common Indications | IV Contrast | Special Instructions
Neuro Brain without contrast | Altered mental status, Headache, Evaluate intracranial hemorrhage | None | Most common protocol
Neuro Brain Treatment Planning | Pre-op | No, unless requested
Neuro Brain with and without contrast | Assess for metastases, tumor, abscesss | Yes | If cannot undergo MRI or as initial study in acute presentation
Neuro Brain with contrast | Assess for metastases, tumor, abscesss | Yes | With and without contrast is preferred in symptomatic patients
Neuro Arterial and Venous Brain (3 phase: unenhanced, arterial, venous) OR Neuro Arterial Brain (3 phase, unenhanced, arterial, delayed) | Intracranial Hemorrhage looking for aneurysm or AVM. | Yes | Use Venous phase instead of Delayed phase if CTV is ordered.
Neuro Arterial Brain (2 phase: unenhanced and arterial) | Vasospasm Followup | Yes
Neuro Arterial Brain and Neck Stroke | Stroke | Yes | Standard CTA for stroke (preferred in ER).
Neuro Arterial Brain and Neck with Delayed Head | Stroke | Yes | Delayed head as opposed to CTV
Neuro Arterial Brain and Neck with perfusion | Stroke | Yes | Will specify if perfusion needed but need to check with ordering if not neurologist. This should be done on Shapiro or Tower CT.
Neuro Arterial Brain with perfusion | Stroke | Yes | Will specify if perfusion needed but need to check with ordering if not neurologist. This should be done on Shapiro or Tower CT.
Neuro Arterial Neck | Carotid artery disease, Post endarterectomy | Yes | Also used in ER for same indications or concern for neck vessel dissection
Neuro Sinus | Acute or chronic sinusitis, Sinus surgery | None | Choose Sinus Treatment Planning for Pre-op.
Neuro Facial Bones | Maxillofacial trauma assess for fracture | None | Choose Cranialfacial Whole Head for Pre-Op planning. This includes mandibles.
Neuro Soft Tissue_Face | Facial swelling, mass, infection | Yes | Also used in ER for same indications. Choose Cranialfacial Whole Head for Pre-Op planning. This includes mandibles.
Neuro Orbits/Sinus Soft Tissues | Orbital mass or other CT evaluation of orbital pathology | Yes | Choose Cranialfacial Whole Head for Pre-Op planning. This includes mandibles.
Neuro Neck | Neck pain/swelling, concern for deep neck abscess, Lymphoma and head/neck cancer staging | Yes | Also used in ER for same indications.
Neuro Temporal Bones | Hearing loss, Mastoiditis | None
Spine, Cervical/Thoracic/Lumbar | Back pain, Spinal stenosis, Radiculopathy, Post-Op | None
Neuro_dynamic Vessels Brain | Pre-Op Evaluation (usually skullbase) | Yes | Done on Shapiro 320 detector CT.
Neuro_dynamic Vessels Brain and Neck with perfusion | Rare, please check with attendings. | Yes | Done on Shapiro 320 detector CT.
Neuro_dynamic Vessels Brain with perfusion | Rare, please check with attendings. | Yes | Done on Shapiro 320 detector CT.

## Chest
Protocol | Common Indications | Contrast | Special Instruction/Comments
CH_Routine I - | lung nodule/masses, suspect pneumonia/pneumonitis, febrile neutropenia | IV: None | Most commonly requested for thoracic surgery clinic patients; BMT patients, ICU patients
CH_Routine I + | Mediastinal or hilar adenopathy/mass, Restaging cancer pt, pleural disease, empyema | IV: Yes | The CAP orders should now be showing up only on abdomen protocol list and should be protocoled using the new chest/abdomen/pelvis protocol with PO and IV contrast.
CH_Pulmonary Angiogram | Suspected PE | IV: Yes
CH_PE+ Abd/Pelv | Supected PE and intraabdominal process and requested as such | IV: Yes
Oral: Yes
CH_Esophageal perforation / leak | Suspected leak following esophagectomy | IV: As indicated by ordering provider (yes, if abscess suspected)
Oral: Yes. Omnipaque preferred to Barium unless h/o allergy or requested by ordering provider.
CH_Esophageal General | Pre or post esophagectomy, evaluate for recurrence, routine surveillance. | IV: As indicated by ordering provider
Oral: As indicated by ordering provider. May need to call to confirm.
CH_ Tracheal Protocol | Suspect Tracheobronchomalacia, brassy cough | IV: None
CH_ILD Clinic | Restrictive defect on PFTs, suspected ILD (connective tissue disorder, exposure history, bibasilar crackles, chronic SOB). | IV: None
CH_Small Airways Disease | Obstructive defect on PFTs, suspected bronchiolitis obliterans; SOB in setting of connective tissue disease, post BMT, post lung transplant GVHD/rejection; troubleshooting mosaicism on chest CT; airway stent planning; tumor involving airway (especially if looking for 3D recons). | IV: None
CH_Research Protocol | Research Protocol
For more information on other CT protocols, please refer to email from Rachna Madan.

## ED
Protocol | Common Indications | Contrast | Comments
ER Trauma, mutiple combinations | Trauma |  | Choose the appropriate combinations as ordered for trauma panscan. If specific combination not available, select separately from list.
Sufficient to protocol one order. The others will stay on the protocol list until the study is completed.
Trainee must monitor. Extend to abdomen/pelvis only if dissection seen. May need delayed pelvis if concern for active extravasation
If penetrating injury and concern for bowel perforation, may need oral or rectal contrast depending on entry site and status of patient
If positive for cervical fracture (esp involving foramen transversarium) or severe maxillofacial fractures during monitoring, may need CTA head and neck; check with attending.
Neuro_Brain without contrast | Headache, altered mental status, Metastases, Concern for stroke | IV: None
Initial study, may get MRI for stroke/metastases etc later
No contrast for metastases (all done as noncontrast in ED)
ER_PE Standard | Chest pain, SOB, suspect PE | IV: Yes
ER_Chest I- | Pneumonia, pleural effusion | IV: None
ER_Chest I+ Nonvascular | Lung mass, mediastinal mass | IV: Yes
Abd_Abd-Pel, Abdomen/Pelvis | Abdominal pain | IV: Yes
|  | Oral: No oral contrast except in these situations: 1) Suspected fistula 2) Suspected anastomotic leak 3) Gastric bypass (Note: different from abdomen section). | As above, if penetrating injury and concern for bowel perforation, may need oral or rectal contrast depending on entry site and status of patient
ER Mesenteric and GI bleeding CTA | GI bleed, mesenteric ischemia | IV: Yes | Review virtual noncontrast images from Dual Energy Postprocesing
Oral: None
ER Dissection Chest | Chest pain, concern for dissection | IV: Yes | Trainee must monitor. Extend to abdomen/pelvis only if dissection seen.
Oral: None
ER Extremity | Fracture | IV: None
ER Pelvis | Pelvic Fracture | IV: None | Rarely done as pelvis alone for non-osseous indications
ER Pelvis cystogram | Concern for bladder rupture | IV: None
Oral: None
Instill contrast in bladder.
ER Upper Extremity CTA | Concern for vascular injury from extremity trauma | IV: Yes
ER Lower Extremity CTA | Concern for vascular injury from extremity trauma | IV: Yes
For details, refer to the Emergency Radiology General Guidelines. Many ER head and neck protocols have now been harmonized with the Neuro protocols. So refer to Neuro section.
Rarely may have to use protocols from the other sections, such as esophageal perforation from Chest and specific CV protocols not part of ER. In such cases, check with Fellow or Attending.

## Nuclear Medicine
Protocol | Common Indications | Special Instructions/Comments
PET/CT Standard (head to thigh) | Suspected malignancy, follow-up known malignancy | Most Common. Often studies are ordered incorrectly as PET/CT Total Body, when a PET/CT Standard will suffice. If so, you do not need to call ordering provider to change the order.
PET/CT Total Body (Scalp to toes) | Melanoma, Multiple Myeloma, Merckel’s Cell Carcinoma | Even if ordered as a PET/CT Standard, always do total body for these indications.
Bone Scan Whole Body | Concern for osseous metastasis | May need to get dedicated views of areas of interest.
Bone Scan 3 Phase | Peri-prosthetic loosening or infection | For periprosthetic infection, 3 phase bone scan or WBC scan can be used depending on duration of prosthesis etc. Check before protocoling
Hepatobiliary | Right upper quadrant pain, ?Acute cholecystitis, Biliary Leak | May need to give morphine if gallbladder is not visualized.
If indicated, give CCK after tracer administration to determine biliary ejection fraction.
Gastric Emptying and Motility | Epigastric pain, nausea, vomiting after eating
Renal Standard | Hydronephrosis, Evaluate for obstruction | If there is hold up of tracer activity within the collecting systems, give Lasix (typically 40 mg)
V/Q scan Differential function | Pre-op thoracic surgery
V/Q Scan Pulmonary Embolism | Pulmonary Embolus
Thyroid neck I-123 | Hyper or hypothyroidism, concern for multinodular goiuter vs Graves vs autoimmune thyroiditis
White blood cell scan | Identify source of infection | For periprosthetic infection, 3 phase bone scan or WBC scan can be used depending on duration of prosthesis etc. Check before protocoling
Parathyroid | Hyperparthyroidism, concern for parathyroid adenoma
GI Blood Loss | GI bleeding to identify source
Lymphoscintigraphy with or without imaging | Pre-oncologic surgery to identify sentinel lymph node | With or without imaging as specified by ordering provider. If without imaging, attending has to inject.
MIBG imaging | Concern for pheochromocytoma, neuroblastoma
Octreoscan | Concern for neuroendocrine tumor other than pheochromocytoma or neuroblastoma | If pheochromocytoma or neuroblastoma are suspected and not seen on MIBG, may consider Octeroscan
These are the common protocols. For a complete list, please refer to http://bwnmserver2/proc_manual/index.html

## CV
Protocol | Common Indications | IV Contrast | Special Instructions/Comments
CV AAA with contrast | Initial evaluation of AAA | Yes | Check to make sure not post EVAR. If post EVAR, then protocol as "Post-op Stent-graft/Extravasation."
CV AAA without contrast | Followup of known AAA if requested as I- for sizing only | None
CV AAA, Post-op Stent-graft/Extravasation | Post-op after AAA stent-graft repair, extravasation in the A/P | Yes
CV AAA, Pre-op Stent-graft | Pre-op for AAA stent-graft repair | Yes
CV TAA, Pre-op Stent-graft | Preop for thoracic AA stent-graft repair | Yes
CV Aorta Chest only CTA **low risk** Dissection Monitored | Patients with low probability/risk dissections | Yes | Rad should monitor and decide whether to add an abdomen and pelvis. Also, rarely we have to wait for 10mins (to washout the contrast) to do I- for IMH.
CV Aorta CAP CTA **High Risk** Dissection | Complete aortic study, Aortic dissection, F/U post-op dissection or post-op aneurysm repairs, | Yes
CV Gated Thoracic Aorta "Chest Only" Non Contrast | Pre-op cardiac surgery to assess for ascending aortic calcification and ascending aortic aneurysm. Thoracic AA followup if requested as I- for sizing only. | None
CV Thoracic Outlet CTA with CTV | Concern for thoracic outlet syndrome | Yes
CV Cardiac Mass | Cardiac mass evaluation | Yes
CV TAA, Post-op Stent-graft/Extravasation | Post-op thoracic AA stent-graft repair, extravasation in the chest | Yes
CV TAVR protocol | Preop for TAVR | Yes
CV Pelvic Vein Thrombosis CTV | Pelvic vein thrombosis | Yes | MRV preferred unless contraindications for MRI or acute
CV DIEAP CTA | Preoperative for breast reconstruction with DIEP | Yes
CV SGAP/PAP | Preoperative for breast reconstruction with SGAP/PAP | Yes
CV Renal Arteries CTA | Renal artery stenosis, Renal artery aneurysm | Yes
CV Renal Donor | Laparoscopic renal transplant donor | Yes
CV Renal Recipient | Renal transplant recipient | Yes
CV Lower Extremity Runoff CTA | PAD, aneurysm | Yes | MRA preferred unless contraindications for MRI or acute
CV Lower Extremity Runoff CTA with CTV | If specifically requested with CTV | Yes | MRA preferred unless contraindications for MRI or acute
CV Upper Extremity Runoff CTA with CTV | Aneurysm or traumatic injury | Yes